## Rooms with Purifiers
Rooms with with Natural Ventilation and Air Purifiers
Rooms in this category benefit from natural ventilation unless stated otherwise. Please ensure all windows in the room are fully open at the start of your teaching session. Following our Safety check, we have found it necessary to install Air Purifiers, which are small units designed to clean air entering it by use of a Hepa filter and a UV light. These units are designed to run continuously and should need no physical intervention. Please ensure they are running (indicated by the display on top of the device) and report to ECS Service Desk any concerns.
Building | Name | Host Key | Capacity | Description | Ventilation | Precovid Capacity | Suggested capacity Following H&S Check with mitigations | Suggested Capacity (%)
111a Princess Road East | 111a Princess Road East H3,H4 | ED H3 | 34 | 111a Princess Road East H3 | Natural | 34 | 34 | 100
Fraser Noble Building | Fraser Noble F015 | ED F015 | 40 | Fraser Noble Ground Floor LR F015 | Natural | 40 | 30 | 75
Fraser Noble Building | Fraser Noble F110 (Chemistry Lab) | ED F110 | 40 | Fraser Noble Chem Lab F110 | Natural | 40 | 40 | 100
Fraser Noble Building | Fraser Noble F112 (Bio Lab) | ED F112 | 40 | Fraser Noble Biology Lab PL112 | Natural | 40 | 40 | 100
Fraser Noble Building | Fraser Noble F211 | ED F211 | 40 | Fraser Noble Second Floor LR F211 | Natural | 40 | 40 | 100
Fraser Noble Building | Fraser Noble F213 | ED F213 | 40 | Fraser Noble Second Floor LR F213 | Natural | 40 | 30 | 75
Attenborough Seminar Block | Attenborough 208 | ATT 208 | 48 | Attenborough Seminar Block Second Floor LR 208 | Natural | 48 | 36 | 75
Attenborough Seminar Block | Attenborough 210 | ATT 210 | 32 | Attenborough Seminar Block Second Floor SR 210 | Natural | 32 | 24 | 75
Attenborough Seminar Block | Attenborough 211 | ATT 211 | 24 | Attenborough Seminar Block Second Floor SR 211 | Natural | 24 | 18 | 75
Attenborough Seminar Block | Attenborough 212 | ATT 212 | 26 | Attenborough Seminar Block Second Floor SR 212 | Natural | 26 | 19 | 75
Attenborough Seminar Block | Attenborough 214 | ATT 214 | 26 | Attenborough Seminar Block Second Floor SR 214 | Natural | 26 | 19 | 75
Attenborough Seminar Block | Attenborough 215 | ATT 215 | 10 | Attenborough Seminar Block Second Floor TR 215 | Natural | 10 | 7 | 75
Attenborough Seminar Block | Attenborough 216 | ATT 216 | 16 | Attenborough Seminar Block Second Floor SR 216 | Natural | 16 | 12 | 75
Attenborough Seminar Block | Attenborough 217 | ATT 217 | 10 | Attenborough Seminar Block Second Floor CL 217 | Natural | 10 | 7 | 75
Attenborough Seminar Block | Attenborough 219 | ATT 219 | 22 | Attenborough Seminar Block Second Floor CL 219 | Natural | 22 | 16 | 75
Physics Building | Physics F02 | PHY F02 | 130 | Physics First Floor Computer Laboratory F CL F02 | Natural | 130 | 130 | 100
Physics Building | Physics F08 | PHY F08 | 40 | Physics First Floor Computer Laboratory H CL F08 | Natural | 40 | 20 | 50
Physics Building | Physics F11 | PHY F11 | 25 | Physics First Floor F11 | Mechanical | 25 | 25 | 100
Physics Building | Physics | F29A |  | Physics First Floor | Natural | N/A | 13 | 100
Charles Wilson BUIlding | Charles Wilson Belvoir Park Lounge | CW2 BPL | 100 | Charles Wilson 2 Belvoir Park Lounge | Natural | 100 | 75 | 75
Charles Wilson BUIlding | Charles Wilson Belvoir City Lounge | CW2 BCL | 100 | Charles Wilson 2 Belvoir City Lounge | Mechanical and Natural | 100 | 75 | 75
Physics Building | Physics F23 | PHY F23 | 88 | Physics First Floor Computer Laboratory E2 CL F23 | Natural | 88 | 88 | 100
Physics Building | Physics F23A | PHY F23A | 64 | Physics First Floor Computer Laboratory F23A | Natural | 64 | 64 | 100
Physics Building | Physics F23B | PHY F23B | 24 | Physics First Floor Computer Laboratory F23B | Natural | 24 | 24 | 100

## Rooms with natural Vent
Rooms with Mechanical Ventilation
Rooms in this category benefit from natural ventilation only, (unless otherwise stated) In order to ensure a safe working environment, and the capacities calculated. Please ensure all windows are open at the commencement of the teaching session.
Building | Name | Host Key | Capacity | Description | Ventilation | Precovid Capacity | Suggested capacity Following H&S Check with mitigations | Suggested Capacity (%)
Brookfield | Brookfield 0.44b | BRK 0.44b | 24 | Brookfield Seminar Room 0.44b | Natural | 24 | 24 | 100
Brookfield | Brookfield 0.53 | BRK 0.53 | 24 | Brookfield Seminar Room 0.53 | Natural | 24 | 24 | 100
Ken Edwards | Ken Edwards 517 | KE 517 | 18 | Ken Edwards Fifth Floor SR 517 | Natural | 18 | 18 | 100
Archaeology and Ancient History Building | Archaeology and Ancient History Building Seminar Room 0.02 | AAH SR1 | 18 | Archaeology and Ancient History Ground Floor Seminar Room 0.02 | natural | 18 | 18 | 100
Astley Clarke | Astley Clarke LG03 | AC LG03 | 18 | Astley Clarke Lower Ground Floor SR LG03 | Natural | 18 | 18 | 100
Adrian Building | Adrian LG26 | ADR LG26 | 55 | Adrian LG26 Lecture Theatre | natural | 55 | 55 | 100
Attenborough Seminar Block | Attenborough 001 | ATT 001 | 42 | Attenborough Seminar Block Ground Floor LR 001 | natural | 42 | 42 | 100
Attenborough Seminar Block | Attenborough 002 | ATT 002 | 40 | Attenborough Seminar Block Ground Floor LR 002 | mechanical and natural | 40 | 40 | 100
Bennett Building | Bennett F75a | BEN F75a | 24 | Bennett First Floor Geography Dept SR F75a | Natural | 24 | 24 | 100
Bennett Building | Bennett G85 | BEN G85 | 100 | Bennett Ground Floor Geology Dept Teaching Area 1 PL G85 | mechanical and natural | 100 | 100 | 100
Bennett Building | Bennett Lecture Theatre 5 | BEN LT5 | 50 | Bennett Lower Ground Floor Lecture Theatre 5 | mechanical and natural | 50 | 50 | 100
Brookfield | Brookfield 0.41 | BRK 0.41 | 20 | Brookfield Seminar Room 0.41 | Natural | 20 | 20 | 100
Brookfield | Brookfield 0.42ab | BRK 0.42a | 48 | Brookfield Seminar Room 0.42a & b | Natural | 48 | 48 | 100
Brookfield | Brookfield 0.42b | BRK 0.42b | 48 | Brookfield Seminar Room 0.42b | Natural | 48 | 48 | 100
Brookfield | Brookfield 0.43 | BRK 0.43 | 25 | Brookfield Seminar Room 0.43 | Natural and mechanical | 25 | 25 | 100
Brookfield | Brookfield 0.44a | BRK 0.44a | 24 | Brookfield Seminar Room 0.44a | Natural | 24 | 24 | 100
Brookfield | Brookfield 0.45 | BRK 0.45 | 25 | Brookfield Seminar Room 0.45 | Natural | 25 | 25 | 100
54 Princess Road East | 54 Princess Road East B201 | ED B201 | 12 | 54 Princess Road East B201 | Naturual | 12 | 12 | 100
54 Princess Road East | 54 Princess Road East B202 | ED B202 | 20 | 54 Princess Road East B202 | Natural | 20 | 20 | 100
15 University Road | 15 University Road D105 | ED D105 | 20 | 15 University Road D105 | Natural | 20 | 20 | 100
19 University Road | Museum Studies Lecture Hall | ED LEC HAL | 100 | 19 University Road, First Floor Lecture Hall 107 | Natureal | 100 | 100 | 100
19 University Road | Museum Studies Learning Studio | ED LSTUDIO | 30 | 19 University Road, Learning Studio 112 | Natural | 30 | 30 | 100
Fielding Johnson Building | Fielding Johnson L17 | FJ L17 | 16 | Fielding Johnson Ground Floor TR L17 | Natural | 16 | 16 | 100
Fielding Johnson Building | Fielding Johnson L67 | FJ L67 | 32 | Fielding Johnson L67 Moot Court Room | Natural | 32 | 32 | 100
Ken Edwards | Ken Edwards 322 | KE 322 | 40 | Ken Edwards Third Floor SR 322 | Natural | 40 | 40 | 100
Ken Edwards | Ken Edwards 324 | KE 324 | 30 | Ken Edwards Third Floor SR 324 | Natural | 30 | 30 | 100
Ken Edwards | Ken Edwards 526 | KE 526 | 40 | Ken Edwards Fifth Floor SR 526 | Natural | 40 | 40 | 100
Ken Edwards | Ken Edwards 527 | KE 527 | 40 | Ken Edwards Fifth Floor SR 527 | Natural | 40 | 40 | 100
Ken Edwards | Ken Edwards 528 | KE 528 | 36 | Ken Edwards Fifth Floor SR 528 | Natural | 36 | 36 | 100
Michael Atiyah | Michael Atiyah 119 | MA 119 | 24 | Michael Atiyah First Floor SR 119 | Natural | 24 | 24 | 100
Maurice Shock Building | Maurice Shock 206 | MSB 206 | 32 | Maurice Shock 206 | NAtural | 32 | 32 | 100
Maurice Shock Building | Maurice Shock 206A | MSB 206A | 32 | Maurice Shock 206A | NAtural | 32 | 32 | 100
Maurice Shock Building | Maurice Shock 207 | MSB 207 | 24 | Maurice Shock 207 | NAtural | 24 | 24 | 100
Maurice Shock Building | Maurice Shock 208 | MSB 208 | 24 | Maurice Shock 208 | NAtural | 24 | 24 | 100
Maurice Shock Building | Maurice Shock 208A | MSB 208A | 24 | Maurice Shock 208A | NAtural | 24 | 24 | 100
Maurice Shock Building | Maurice Shock G07B | MSB G07B | 12 | Maurice Shock Seminar Room SR G07B | NAtural | 12 | 12 | 100
Maurice Shock Building | Maurice Shock G08 | MSB G08 | 25 | Maurice Shock Seminar Room SR G08 | NAtural | 25 | 25 | 100
Maurice Shock Building | Maurice Shock LG43 | MSB LG43 | 24 | Maurice Shock Seminar Room LG43 | NAtural | 24 | 24 | 100
Physics Building | Physics Lecture Theatre D | PHY LTD | 36 | Physics Ground Floor LR LTD | Natural | 36 | 36 | 100
Readson House | Readson House Room 101 | RH 101 | 16 | Readson House Room 101 | Natural, but 2 recirc AC cassettes currently on | 16 | 16 | 100
Readson House | Readson House Room 102 | RH 102 | 16 | Readson House Room 102 | Natural, but 2 recirc AC cassettes currently on | 16 | 16 | 100
Readson House | Readson House Room 103 | RH 103 | 20 | Readson House Room 103 | Natural, but 2 recirc AC cassettes currently on | 20 | 20 | 100
Readson House | Readson House Room 106 | RH 106 | 16 | Readson House Room 106 | Natural, but 2 recirc AC cassettes currently on | 16 | 16 | 100
Readson House | Readson House Room 108 | RH 108 | 14 | Readson House Room 108 | Natural, but 2 recirc AC cassettes currently on | 14 | 14 | 100
Readson House | Readson House Room 201 | RH 201 | 16 | Readson House Room 201 | Natural, but 2 recirc AC cassettes currently on | 16 | 16 | 100
Readson House | Readson House Room 202 | RH 202 | 16 | Readson House Room 202 | Natural, but 2 recirc AC cassettes currently on | 16 | 16 | 100
Readson House | Readson House Room 203 | RH 203 | 20 | Readson House Room 203 | Natural, but 2 recirc AC cassettes currently on | 20 | 20 | 100
Readson House | Readson House Room 205 | RH 205 | 16 | Readson House Room 205 | Natural, but 2 recirc AC cassettes currently on | 16 | 16 | 100
Readson House | Readson House Room 207 | RH 207 | 14 | Readson House Room 207 | Natural, but 2 recirc AC cassettes currently on | 14 | 14 | 100
Brookfield | Brookfield 0.47 | BRK 0.47 | 20 | Brookfield PC Room 0.47 | Natural | 20 | 20 | 100
Adrian Building | Adrian 227 | ADR 227 | 50 | Adrian 227 | Natural and mechanical | 50 | 50 | 100
Bennett Building | Bennett F75b | BEN F75b | 48 | Bennett First Floor Geography Dept CL F75b | Natural | 48 | 48 | 100
George Davies Centre | George Davies Centre 0.16 | GDC 0.16 | 42 | George Davies Centre Ground Floor IT Lab 0.16 | Natural and mechanical | 42 | 42 | 100
CHarles Wilson Building | Charles Wilson 304 305 | CW 304 305 | 82 | Charles Wilson Third Floor CL 304 and 305 | Natural | 82 | 82 | 100
Fraser Noble Building | Fraser Noble F013 (Computer Lab) | ED F013 | 15 | Fraser Noble Ground Floor CL F013 | Natural | 15 | 15 | 100
George Porter Building | George Porter 2.06 | GP 2.06 | 22 | George Porter Second Floor Computer Lab GP 2.06 | Natural | 22 | 22 | 100
Ken Edwards | Ken Edwards 101 | KE 101 | 35 | Ken Edwards Ground Floor CL 101 | Natural | 35 | 35 | 100
Ken Edwards | Ken Edwards 103 | KE 103 | 35 | Ken Edwards Ground Floor CL 103 | Natural | 35 | 35 | 100
Brookfield | Brookfield 0.47 | BRK 0.47 | 20 | Brookfield PC Room 0.47 | Natural | 20 | 20 | 100
Michael Atiyah | Michael Atiyah 109 | MA 109 | 25 | Michael Atiyah First Floor SR 109 | Natural | 25 | 25 | 100
Astley Clarke | Astley Clarke LG05 | AC LG05 | 12 | Astley Clarke LG Floor Media Lab LG05 | Natural | 12 | 12 | 100
Archaeology and Ancient History Building | Archaeology and Ancient History Building Seed Laboratory 1.04 | AAH 101 | 20 | Archaeology and Ancient History Building Seed Laboratory 1.04 | Natural | 20 | 20 | 100
Archaeology and Ancient History Building | Archaeology and Ancient History Building Animal Bone Laboratory 1.19 | AAH 112 | 30 | Archaeology and Ancient History First Floor Animal Bone Laboratory 1.19 | Natural | 30 | 30 | 100
Archaeology and Ancient History Building | Archaeology and Ancient History Building Materials Laboratory 1.21 | AAH 114 | 24 | Archaeology and Ancient History Building Materials Laboratory 1.21 | Natural | 24 | 24 | 100
Adrian Building | Adrian LG10 | ADR LG10 | 32 | Adrian LG10 Science Laboratory | natural | 32 | 32 | 100
Adrian Building | Adrian LG15 | ADR LG15 | 32 | Adrian LG15 Science Laboratory | Natural and mechanical | 32 | 32 | 100
Bennett Building | Bennett G67 | BEN G67 | 38 | Bennett Ground Floor Teaching Area 3 TS G67 | Natural | 38 | 38 | 100
Bennett Building | Bennett G72 | BEN G72 | 72 | Bennett Ground Floor Teaching Area 2 TS G72 | Natural | 72 | 72 | 100
CHarles Wilson Building | Charles Wilson 301 | CW 301 | 125 | Charles Wilson 301 | Natural | 125 | 125 | 100
19 University Road | Museum Studies Collections Room (017) | ED 017 | 25 | 19 University Road, Ground Floor The Collections Room 017 | Natural | 25 | 25 | 100
Fraser Noble Building | Fraser Noble F110 (Chemistry Lab) | ED F110 | 40 | Fraser Noble Chem Lab F110 | Natural | 40 | 40 | 100
Fraser Noble Building | Fraser Noble F112 (Bio Lab) | ED F112 | 40 | Fraser Noble Biology Lab PL112 | Natural | 40 | 40 | 100
19 University Road | Museum Studies Lecture Hall | ED LEC HAL | 100 | 19 University Road, First Floor Lecture Hall 107 | Natural | 100 | 100 | 100
19 University Road | Museum Studies Learning Studio | ED LSTUDIO | 30 | 19 University Road, Learning Studio 112 | Natural | 30 | 30 | 100
Engineering Building | Engineering C and D Lab | ENG C DLAB | 48 | Engineering Laboratory C and D Lab | Natural | 48 | 48 | 100
George Porter Building | George Porter MML 0.15 | GP 0.15 | 64 | Molecular Modelling Laboratory GP 0.15 | Natural | 64 | 64 | 100
George Porter Building | George Porter 2.06 | GP 2.06 | 22 | George Porter Second Floor Computer Lab GP 2.06 | Natural | 22 | 22 | 100
Ken Edwards Building | Ken Edwards 620 | KE 620 | 20 | Ken Edwards Level 6 Language Laboratory 3 KE620 | Natural | 20 | 20 | 100
Ken Edwards Building | Ken Edwards 621 | KE 621 | 20 | Ken Edwards Level 6 Language Laboratory 2 KE621 | Natual | 20 | 20 | 100
Maurice Shock Building | Maurice Shock 115 | MSB 115 | 120 | Maurice Shock First Floor SR 115 | Natural and mechanical | 120 | 120 | 100
Maurice Shock Building | Maurice Shock 135 | MSB 135 | 80 | MSB 135 | Natural | 80 | 80 | 100
Maurice Shock Building | Maurice Shock 223 | MSB 223 | 60 | Maurice Shock Wet Lab 223 | Natural | 60 | 60 | 100
Maurice Shock Building | Maurice Shock 225 | MSB 225 | 48 | Maurice Shock Teaching Space TS 225 | Natural | 48 | 48 | 100
Maurice Shock Building | Maurice Shock G26B Physio Lab | MSB G26B | 40 | Maurice Shock Seminar Room SR G26B Physio Lab | Natural and mechanical | 40 | 40 | 100
Maurice Shock Building | Maurice Shock G27 Physio Lab | MSB G27 | 30 | Maurice Shock Ground Floor SR G27 Physio Lab | natural | 30 | 30 | 100
Maurice Shock Building | Maurice Shock LG28 | MSB LG28 | 18 | Physiotherapy Practical Room | Natural | 18 | 18 | 100
Maurice Shock Building | Maurice Shock LG29 | MSB LG29 | 18 | Physiotherapy Practical Room | Natural | 18 | 18 | 100
Physics Building | Physics F12 | PHY F12 | 40 | Physics First Floor Laboratory I iScience DL F12A | Natural | 40 | 40 | 100
Physics Building | Physics F37 | PHY F37 | 40 | Physics First Floor Laboratory J DL F37 | Natural | 40 | 40 | 100
Physics Building | Physics F10 | PHY F10 | 15 | Physics First Floor F10 | Natural | 15 | 15 | 100
Archaeology and Ancient History Building | Archaeology and Ancient History Building Human Bone Laboratory 1.20 | AAH 113 | 15 | Archaeology and Ancient History Human Bone Laboratory 1.20 | Natural | 15 | 15 | 100
Astley Clarke | Astley Clarke 2.14 | AC 2.14 | 24 | Astley Clarke Media Lab 2.14 | Natural | 24 | 24 | 100
2 University Road | 2 University Road E101 | ED E101 | 20 | 2 University Road E101 | Natural | 20 | 20 | 100
2 University Road | 2 University Road E104 | ED E104 | 10 | 2 University Road E104 | Natural | 10 | 10 | 100
2 University Road | 2 University Road E204 | ED E204 | 25 | 2 University Road E204 | Natural | 25 | 25 | 100

## Rooms with Mech Vent
Rooms with Mechanical Ventilation
Mechanical ventilation systems have been designed to meet legislative requirements in terms of flow rates sufficient to provide a safe working environment. All mechanical systems are maintained 4 times per year in line with industry standards. All mechanical systems are providing 100% fresh air. The operation of these systems is monitored by EDS. However, if you suspect the mechanical ventilation is not operating (if the room feels stuffy) please report to the ECS Service desk
Building | Name | Host Key | Capacity | Description | Ventilation | Precovid Capacity | Suggested capacity Following H&S Check with mitigations | Suggested Capacity (%)
Brookfield Stable Block | Brookfield Stable Block 0.05 | BRK SB 0.05 | 24 | Brookfield Stable Block 0.05 | Mechanical | 24 | 24 | 100
Brookfield Main House | Brookfield Main House 0.03 | BRK 0.03 | 30 | Brookfield Main House 0.03 | Mechanical | 30 | 30 | 100
Brookfield Main House | Brookfield Main House 0.02 | BRK 0.02 | 30 | Brookfield Main House 0.02 | Mechanical | 30 | 30 | 100
Brookfield | Brookfield Lecture Theatre 2 | BRK LT2 | 170 | Brookfield Lecture Theatre 2 | Mechanical | 170 | 170 | 100
Brookfield Stable Block | Brookfield Stable Block 0.04 | BRK SB 0.04 | 48 | Brookfield Stable Block 0.04 | Mechanical | 48 | 48 | 100
Astley Clarke | Astley Clarke Lecture Theatre | AC LT | 110 | Astley Clarke Ground Floor Lecture Theatre | Mechanical | 110 | 110 | 100
Adrian | Adrian 243 | ADR 243 | 30 | Adrian 243 | Mechanical | 30 | 30 | 100
Attenborough Seminar Block | Attenborough LG01 | ATT LG01 | 16 | Attenborough Seminar Block Basement SR LG01 | Mechanical | 16 | 16 | 100
Attenborough Seminar Block | Attenborough LG02 | ATT LG02 | 18 | Attenborough Seminar Block Basement SR LG02 | Mechanical | 18 | 18 | 100
Attenborough Seminar Block | Attenborough LG03 | ATT LG03 | 24 | Attenborough Seminar Block Basement SR LG03 | Mechanical | 24 | 24 | 100
Attenborough Seminar Block | Attenborough LG10 | ATT LG10 | 12 | Attenborough Seminar Block Basement TR LG10 | Mechanical | 12 | 12 | 100
Attenborough Seminar Block | Attenborough Lecture Theatre 1 | ATT LT1 | 204 | Attenborough Basement Lecture Theatre 1 | Mechanical | 204 | 204 | 100
Attenborough Seminar Block | Attenborough Lecture Theatre 3 | ATT LT3 | 96 | Attenborough Basement Lecture Theatre 3 | Mechanical | 96 | 96 | 100
Attenborough Seminar Block | Attenborough Film Theatre | ATT UFT | 133 | Attenborough Basement University Film Theatre | Mechanical | 133 | 133 | 100
Bennett Building | Bennett Lecture Theatre 8 | BEN LT8 | 96 | Bennett Lower Ground Floor Lecture Theatre 8 | Mechanical | 96 | 96 | 100
Bennet Link | Bennett Link Lecture Theatre | BENL LT | 108 | Bennett Link Lower Ground Floor Lecture Theatre | Mechanical | 108 | 108 | 100
Brookfield | Brookfield Lecture Theatre 1 | BRK LT1 | 180 | Brookfield Lecture Theatre 1 | Mechanical | 180 | 180 | 100
George Davies Centre | George Davies Centre Lecture Theatre 1 (0.20) | GDC 0.20 | 330 | George Davies Centre Ground Floor Lecture Theatre 1 0.20 | Mechanical | 330 | 330 | 100
George Davies Centre | George Davies Centre 0.25 | GDC 0.25 | 30 | George Davies Centre Ground Floor Teaching Room 0.25 | Mechanical | 30 | 30 | 100
George Davies Centre | George Davies Centre 0.26 | GDC 0.26 | 30 | George Davies Centre Ground Floor Teaching Room 0.26 | Mechanical | 30 | 30 | 100
George Davies Centre | George Davies Centre 0.27 | GDC 0.27 | 40 | George Davies Centre Ground Floor Med Teaching Room 0.27 | Mechanical | 40 | 40 | 100
George Davies Centre | George Davies Centre 0.31 | GDC 0.31 | 40 | George Davies Centre Ground Floor Med Teaching Room 0.31 | Mechanical | 40 | 40 | 100
George Davies Centre | George Davies Centre 0.32 | GDC 0.32 | 40 | George Davies Centre Med Teach Room 0.32 | Mechanical | 40 | 40 | 100
George Davies Centre | George Davies Centre 0.33 | GDC 0.33 | 40 | George Davies Centre Med Teach Room 0.33 | Mechanical | 40 | 40 | 100
George Davies Centre | George Davies Centre 0.37 | GDC 0.37 | 40 | George Davies Centre Ground Floor Teaching Room 0.37 | Mechanical | 40 | 40 | 100
George Davies Centre | George Davies Centre Lecture Theatre 2 (1.01) | GDC 1.01 | 204 | George Davies Centre First Floor Lecture Theatre 2 1.01 | Mechanical | 204 | 204 | 100
George Davies Centre | George Davies Centre 1.23 | GDC 1.23 | 20 | George Davies Centre First Floor Med Teaching Room 1.23 | Mechanical | 20 | 20 | 100
George Davies Centre | George Davies Centre 1.24 | GDC 1.24 | 20 | George Davies Centre First Floor Med Teaching Room 1.24 | Mechanical | 20 | 20 | 100
George Davies Centre | George Davies Centre 1.25 | GDC 1.25 | 20 | George Davies Centre First Floor Med Teaching Room 1.25 | Mechanical | 20 | 20 | 100
George Davies Centre | George Davies Centre 1.26 | GDC 1.26 | 20 | George Davies Centre First Floor Med Teaching Room 1.26 | Mechanical | 20 | 20 | 100
George Davies Centre | George Davies Centre 1.27 | GDC 1.27 | 20 | George Davies Centre First Floor Med Teaching Room 1.27 | Mechanical | 20 | 20 | 100
George Davies Centre | George Davies Centre 1.28 | GDC 1.28 | 20 | George Davies Centre First Floor Med Teaching Room 1.28 | Mechanical | 20 | 20 | 100
George Davies Centre | George Davies Centre 1.29 | GDC 1.29 | 20 | George Davies Centre First Floor Med Teaching Room 1.29 | Mechanical | 20 | 20 | 100
George Davies Centre | George Davies Centre 1.31 | GDC 1.31 | 20 | George Davies Centre First Floor Med Teaching Room 1.31 | Mechanical | 20 | 20 | 100
George Davies Centre | George Davies Centre 1.33 | GDC 1.33 | 40 | George Davies Centre First Floor Med Teaching Room 1.33 | Mechanical | 40 | 40 | 100
George Davies Centre | George Davies Centre 1.34 | GDC 1.34 | 40 | George Davies Centre First Floor Med Teaching Room 1.34 | Mechanical | 40 | 40 | 100
George Davies Centre | George Davies Centre 1.35 | GDC 1.35 | 40 | George Davies Centre First Floor Med Teaching Room 1.35 | Mechanical | 40 | 40 | 100
George Davies Centre | George Davies Centre 1.36 | GDC 1.36 | 40 | George Davies Centre First Floor Med Teaching Room 1.36 | Mechanical | 40 | 40 | 100
George Davies Centre | George Davies Centre 1.39 | GDC 1.39 | 40 | George Davies Centre First Floor Teaching Room 1.39 | Mechanical | 40 | 40 | 100
David Wilson Library | David Wilson Library Seminar Room SSDS | DW SSDS | 25 | David Wilson Library Second Floor SSDS Seminar Room | Mechanical | 25 | 25 | 100
Fraser Noble | Fraser Noble Hall | ED FN HALL | 250 | Fraser Noble Ground Floor Fraser Noble Hall | Mechanical | 250 | 250 | 100
Engineering Building | Engineering Lecture Theatre 1 | ENG LT1 | 80 | Engineering First Floor Lecture Theatre 1 | Mechanical | 80 | 80 | 100
Engineering Building | Engineering Lecture Theatre 2 | ENG LT2 | 150 | Engineering Second Floor Lecture Theatre 2 | Mechanical | 150 | 150 | 100
Fielding Johnson Building | Fielding Johnson Peter Williams Lecture Theatre | FJ SW PW | 485 | Fielding Johnson South Wing Peter Williams Lecture Theatre | Mechanical | 485 | 485 | 100
Fielding Johnson Building | Fielding Johnson South Wing Ogden Lewis 1 | FJ SW SR1 | 22 | FJB Sth Wing Ogden Lewis Seminar 1 | Mechanical | 22 | 22 | 100
Fielding Johnson Building | Fielding Johnson South Wing Ogden Lewis 2 | FJ SW SR2 | 22 | FJB Sth Wing Ogden Lewis Seminar 2 | Mechanical | 22 | 22 | 100
Fielding Johnson Building | Fielding Johnson South Wing Ogden Lewis 3 | FJ SW SR3 | 18 | FJB Sth Wing Ogden Lewis Seminar 3 | Mechanical | 18 | 18 | 100
George Porter Building | George Porter 2.05 | GP 2.05 | 25 | George Porter Second Floor SR GP2.05 | Mechanical | 25 | 25 | 100
George Porter Building | George Porter Lecture Theatre A | GP LTA | 108 | George Porter Upper Ground Floor Lecture Theatre A | Mechanical | 108 | 108 | 100
George Porter Building | George Porter Lecture Theatre B | GP LTB | 108 | George Porter Upper Ground Floor Lecture Theatre B | Mechanical | 108 | 108 | 100
George Porter Building | George Porter Lecture Theatre C | GP LTC | 46 | George Porter Upper Ground Floor Lecture Theatre C | Mechanical | 46 | 46 | 100
Henry Wellcome Building | Henry Wellcome Atrium | HW FKM AT | 1 | HW Frank and Katherine May Atrium | Mechanical | 1 | 1 | 100
Henry Wellcome Building | Henry Wellcome Lecture Theatre | HW FKM LT | 133 | Henry Wellcome Ground Floor Frank and Katherine May Lecture Theatre | Mechanical | 133 | 133 | 100
Ken Edwards Building | Ken Edwards Lecture Theatre 1 | KE LT1 | 250 | Ken Edwards First Floor Lecture Theatre 1 | Mechanical | 250 | 250 | 100
Ken Edwards Building | Ken Edwards Lecture Theatre 2 | KE LT2 | 158 | Ken Edwards Ground Floor Lecture Theatre 2 | Mechanical | 158 | 158 | 100
Ken Edwards Building | Ken Edwards Lecture Theatre 3 | KE LT3 | 150 | Ken Edwards Ground Floor Lecture Theatre 3 | Mechanical | 150 | 150 | 100
Maurice Shock Building | Maurice Shock 257 | MSB 257 | 48 | Maurice Shock Teaching Space MSB 257 | Mechanical | 48 | 48 | 100
Maurice Shock Building | Maurice Shock G24 | MSB G24 | 21 | Maurice Shock Ground Floor SR G24 | Mechanical | 21 | 21 | 100
Maurice Shock Building | Maurice Shock G25 | MSB G25 | 21 | Maurice Shock Ground Floor SR G25 | Mechanical | 21 | 21 | 100
Maurice Shock Building | Maurice Shock G26 | MSB G26 | 12 | Maurice Shock Ground Floor SR G26 | Mechanical | 12 | 12 | 100
Maurice Shock Building | Maurice Shock G26A | MSB G26A | 18 | Maurice Shock Seminar Room SR G26A | Mechanical | 18 | 18 | 100
Maurice Shock Building | Maurice Shock Lecture Theatre 1 | MSB LT1 | 200 | Maurice Shock First Floor Lecture Theatre 1 | Mechanical | 200 | 200 | 100
Maurice Shock Building | Maurice Shock Lecture Theatre 2 | MSB LT2 | 124 | Maurice Shock First Floor Lecture Theatre 2 | Mechanical | 124 | 124 | 100
Physics Building | Physics Lecture Theatre A | PHY LTA | 120 | Physics Ground Floor Lecture Theatre A | Mechanical | 120 | 120 | 100
Physics Building | Physics Lecture Theatre B | PHY LTB | 120 | Physics Ground Floor Lecture Theatre B | Mechanical | 120 | 120 | 100
Rattray | Rattray Lecture Theatre | RAT LT | 329 | Rattray Lower Ground Floor Lecture Theatre | Mechanical | 329 | 329 | 100
Readson House | Readson House Room 107 | RH 107 | 16 | Readson House Room 107 | mechanical and 2 AC cassettes | 16 | 16 | 100
Readson House | Readson House Room 204 | RH 204 | 13 | Readson House Room 204 | mechanical 2 recirc AC cassetts currently on | 13 | 13 | 100
Readson House | Readson House Room 206 | RH 206 | 16 | Readson House Room 206 | mechanical and 2 AC cassettes | 16 | 16 | 100
Brookfield Stable Block | Brookfield Stable Block 1.05 | BRK SB 1.05 | 25 | Brookfield Stable Block 1.05 | Mechanical | 25 | 25 | 100
David Wilson Library | David Wilson Library IT Room 1 | DW IT R1 | 47 | David Wilson Library IT Room 1 | Mechanical | 47 | 47 | 100
David Wilson Library | David Wilson Ground Floor Esports Lab (IT Room 2) | DW IT R2 | 24 | David Wilson Ground Floor Esports Lab (IT Room 2) | Mechanical | 24 | 24 | 100
Ken Edwards Building | Ken Edwards 323 | KE 323 | 27 | Ken Edwards Third Floor CL 323 | Mechanical | 27 | 27 | 100
Maurice Shock Building | Maurice Shock G62 | MSB G62 | 40 | Maurice Shock Ground Floor CL G62 | Mechanical | 40 | 40 | 100
Percy Gee Building | Percy Gee - Charles Wilson replacement (PG) A | #SPLUS84C337 | 130 | Percy Gee | Mechanical | 130 | 130 | 100
Percy Gee Building | Percy Gee - Charles Wilson replacement (PG) B | #SPLUS84C338 | 70 | Percy Gee | Mechanical | 70 | 70 | 100
Percy Gee Building | Percy Gee - Charles Wilson replacement (PG) C | #SPLUS84C339 | 60 | Percy Gee | Mechanical | 60 | 60 | 100
Percy Gee Building | Percy Gee - Charles Wilson replacement (PG) D | #SPLUS84C33A | 30 | Percy Gee | Mechanical | 30 | 30 | 100
Percy Gee Building | Percy Gee - Charles Wilson replacement (PG) | #SPLUS5B1381 | 160 | Percy Gee | Mechanical | 160 | 160 | 100
George Davies Centre | George Davies Centre 1.17 | GDC 1.17 | 14 | George Davies Centre First Floor DClinPsy Teaching Room 1.17 | Mechanical | 14 | 14 | 100
Bennett Building | Bennett F34 | BEN F34 | 30 | Bennett First Floor Student Study Area SR F34 | Mechanical | 30 | 30 | 100
Adrian Building | Adrian 202 | ADR 202 | 16 | Adrian 202 | Mechanical | 16 | 16 | 100
Adrian Building | Adrian 207A | ADR 207A | 32 | Adrian Second Floor CL 207A | Mechanical | 32 | 32 | 100
Adrian Building | Adrian LG41 | ADR LG41 | 30 | Adrian LG41 Science Laboratory | Mechanical | 30 | 30 | 100
Attenborough Seminar Block | Attenborough LG11 | ATT LG11 | 20 | Attenborough Lower Ground Floor Language Laboratory LG11 | Mechanical | 20 | 20 | 100
Bennett Building | Bennett F54 | BEN F54 | 40 | Bennett First Floor Physical Geography Laboratory DL F54 | Mechanical | 40 | 40 | 100
Bennett Building | Bennett G02 | BEN G02 | 22 | Bennett Ground Floor Masters Teaching Area TS G02 | Mechanical | 22 | 22 | 100
Bennett Building | Bennett G25 | BEN G25 | 12 | Bennett Ground Floor Geophysics Teaching Room TS G25 | Mechanical | 12 | 12 | 100
Bennett Building | Bennett G68 | BEN G68 | 5 | Bennett Ground Floor Teaching Area Wet Laboratory | Mechanical | 5 | 5 | 100
Bennett Building | Bennett G86 | BEN G86 | 100 | Bennett G86 Slyvester Bradley Room | Mechanical | 100 | 100 | 100
George Davies Centre | George Davies Centre 0.05 | GDC 0.05 | 24 | George Davies Centre Digital Seminar Room 0.05 | Mechanical | 24 | 24 | 100
George Davies Centre | George Davies Centre 0.25 | GDC 0.25 | 30 | George Davies Centre Ground Floor Teaching Room 0.25 | Mechanical | 30 | 30 | 100
George Davies Centre | George Davies Centre 0.26 | GDC 0.26 | 30 | George Davies Centre Ground Floor Teaching Room 0.26 | Mechanical | 30 | 30 | 100
George Davies Centre | George Davies Centre 0.30 | GDC 0.30 | 30 | George Davies Centre HS IT Lab 0.30 | Mechanical | 30 | 30 | 100
George Davies Centre | George Davies Centre 1.05 | GDC 1.05 | 17 | George Davies Centre First Floor DClinPsy Teaching Room 1.05 | Mechanical | 17 | 17 | 100
George Davies Centre | George Davies Centre 1.20 | GDC 1.20 | 40 | George Davies Centre First Floor ODP Teaching and Seminar Room 1.20 | Mechanical | 40 | 40 | 100
George Davies Centre | George Davies Centre 1.30 | GDC 1.30 | 40 | George Davies Centre First Floor ODP Practical Training Room 1.30 | Mechanical | 40 | 40 | 100
George Davies Centre | George Davies Centre 1.32 | GDC 1.32 | 40 | George Davies Centre First Floor ODP Teaching Room 1.32 | Mechanical | 40 | 40 | 100
George Davies Centre | George Davies Centre 2.13 | GDC 2.13 | 16 | George Davies Centre Second Floor Psychology IT Lab 2.13 | Mechanical | 16 | 16 | 100
George Davies Centre | George Davies Centre 2.15 | GDC 2.15 | 16 | George Davies Centre Second Floor Psychology IT Lab 2.15 | Mechanical | 16 | 16 | 100
George Davies Centre | George Davies Centre 2.18 | GDC 2.18 | 16 | George Davies Centre Second Floor Psychology IT Lab 2.18 | Mechanical | 16 | 16 | 100
George Davies Centre | George Davies Centre 2.19 | GDC 2.19 | 16 | George Davies Centre Second Floor Psychology IT Lab 2.19 | Mechanical | 16 | 16 | 100
George Davies Centre | George Davies Centre 2.20 | GDC 2.20 | 16 | George Davies Centre Second Floor PG Psychology IT Lab 2.20 | Mechanical | 16 | 16 | 100
19 University Road | Museum Studies Projects Room (016) | ED 016 | 8 | 19 University Road, Projects Room Ground Floor 016 | Mechanical | 8 | 8 | 100
19 University Road | Engineering Building Room 103 | ENG 103 | 8 | Engineering First Floor | Mechanical | 8 | 8 | 100
Engineering Building | Engineering Building Room 106 | ENG 106 | 6 | Engineering Building Room 106 | Mechanical | 6 | 6 | 100
Engineering Building | Engineering Building Room 213 | ENG 213 | 48 | Engineering Building Room 213 | Mechanical | 48 | 48 | 100
Engineering Building | Engineering Electrical Teaching Lab | ENG ETL | 100 | Engineering Electrical Teaching Laboratory | Mechanical | 100 | 100 | 100
Engineering Building | Engineering Thermodynamics Lab (G06) | ENG G06 | 21 | Engineering Ground Floor Thermodynamics Laboratory TF DL G06 | Mechanical | 21 | 21 | 100
Engineering Building | Engineering Building Room G09 | ENG G09 | 16 | Engineering Building Room G09 | Mechanical | 16 | 16 | 100
Engineering Building | Engineering Building Room G10 | ENG G10 | 8 | Engineering Ground Floor | Mechanical | 8 | 8 | 100
Engineering Building | Engineering MOM Lab | ENG MOM | 10 | Engineering MOM Lab | Mechanical | 10 | 10 | 100
Engineering Building | Engineering S Block Young's Mezzanine | ENG YGS ME | 30 | Engineering First Floor, South Block Young's Mezzanine | Mechanical | 30 | 30 | 100
George Porter Building | George Porter 1.02 | GP 1.02 | 150 | George Porter First Floor Lab GP 1.02 | Mechanical | 150 | 150 | 100
Maurice Shock Building | Maurice Shock G24 | MSB G24 | 21 | Maurice Shock Ground Floor SR G24 | Mechanical | 21 | 21 | 100
Maurice Shock Building | Maurice Shock LG48 | MSB LG48 | 999 | Dissection Room LG48 | Mechanical | 999 | 999 | 100
Physics Building | Physics N F20 | PHY N | 20 | Physics First Floor Seminar Room N SR F20 | Mechanical | 20 | 20 | 100
Physics Building | Physics O F21 | PHY O | 10 | Physics First Floor Seminar Room O SR F21 | Mechanical | 10 | 10 | 100
Physics Building | Physics P G15B | PHY P | 8 | Physics Ground Floor Seminar Room P SR G15B | Mechanical | 8 | 8 | 100
Physics Building | Physics Q G15A | PHY Q | 8 | Physics Ground Floor Seminar Room Q SR G15A | Mechanical | 8 | 8 | 100
Bennett Building | Bennett G85ab | BEN G85ab | 20 | Bennett Ground Floor Geology Dept TR G85a and b | Mechanical | 20 | 20 | 100
Bennett Building | Bennett LG5 | BEN LG5 | 22 | Bennett Lower Ground Floor SR LG5 | Mechanical | 22 | 22 | 100
Bennett Building | Bennett Lecture Theatre 1 | BEN LT1 | 234 | Bennett Upper Ground Floor Lecture Theatre 1 | Mechanical | 234 | 234 | 100
Bennett Building | Bennett Lecture Theatre 10 | BEN LT10 | 78 | Bennett Ground Floor Geology Dept Lecture Theatre 10 | Mechanical | 78 | 78 | 100
Bennett Building | Bennett Lecture Theatre 2 | BEN LT2 | 150 | Bennett Lower Ground Floor Lecture Theatre 2 | Mechanical | 150 | 150 | 100
Bennett Building | Bennett Lecture Theatre 3 | BEN LT3 | 86 | Bennett Lower Ground Floor Lecture Theatre 3 | Mechanical | 86 | 86 | 100
Bennett Building | Bennett Lecture Theatre 4 | BEN LT4 | 45 | Bennett Lower Ground Floor Lecture Theatre 4 | Mechanical | 45 | 45 | 100

## Rooms with cap restrictions
Rooms with Mechanical Ventilation
Rooms in this category are naturally ventilated (unless otherwise stated) but there were concerns regarding the number or size of the opening windows and their ability to provide sufficient ventilation. Therefore capacities have been reduced in order to maintain a safe working environment. Please adhere to the stated capacities and do not move desks or furniture in to or our of the room. Please ensure all windows are open at the commencement of the teaching session
Building | Name | Host Key | Capacity | Description | Ventilation | Precovid Capacity | Suggested capacity Following H&S Check with mitigations | Suggested Capacity (%)
Attenborough Seminar Blocl | Attenborough 104 | ATT 104 | 12 | Attenborough Seminar Block First Floor TR 104 | Natural | 12 | 9 | 75
Attenborough Seminar Blocl | Attenborough 109 | ATT 109 | 12 | Attenborough Seminar Block First Floor TR 109 | Natural | 12 | 9 | 75
Attenborough Seminar Blocl | Attenborough 111 | ATT 111 | 48 | Attenborough Seminar Block First Floor LR 111 | Natural | 48 | 36 | 75
Attenborough Tower | Attenborough 202 | ATT 202 | 16 | Attenborough Second Floor SR 202 | Natural | 16 | 12 | 75
Attenborough Tower | Attenborough 203 | ATT 203 | 16 | Attenborough Second Floor SR 203 | Natural | 16 | 12 | 75
Attenborough Tower | Attenborough 204 | ATT 204 | 16 | Attenborough Second Floor TR 204 | Natural | 16 | 12 | 75
Attenborough Tower | Attenborough 205 | ATT 205 | 20 | Attenborough Second Floor TR 205 | Natural | 20 | 15 | 75
Attenborough Tower | Attenborough 206 | ATT 206 | 40 | Attenborough Second Floor LR 206 | Natural | 40 | 30 | 75
Charles Wilson Building | Charles Wilson 401 (Sparkenhoe) | CW 401 SR | 26 | Charles Wilson Fourth Floor MR 401 Sparkenhoe | Natural | 26 | 19 | 75
Charles Wilson Building | Charles Wilson 402 (Goscote) | CW 402 GOS | 26 | Charles Wilson Fourth Floor MR 402 Goscote | Natural | 26 | 19 | 75
Charles Wilson Building | Charles Wilson 403 (Rutland) | CW 403 RR | 30 | Charles Wilson Fourth Floor SR 403 Rutland | Natural | 30 | 22 | 75
Charles Wilson Building | Charles Wilson 404 (Gartree) | CW 404 GRT | 30 | Charles Wilson Fourth Floor SR 404 Gartree | Natural | 30 | 22 | 75
Charles Wilson Building | Charles Wilson 408 (Woodhouse) | CW 408 WDH | 30 | Charles Wilson Fourth Floor SR 408 Woodhouse | Natural | 30 | 22 | 75
Charles Wilson Building | Charles Wilson 409 (Garendon) | CW 409 GND | 40 | Charles Wilson Fourth Floor SR 409 Garendon | Mechanical and natural | 40 | 30 | 75
Charles Wilson Building | Charles Wilson 411 (Quorn) | CW 411 QR | 20 | Charles Wilson Fourth Floor SR 411 Quorn | Natural | 20 | 15 | 75
Charles Wilson Building | Charles Wilson Belvoir Park Annexe | CW2 BPA | 45 | Charles Wilson 2 Belvoir Park Annexe | Natural | 45 | 33 | 75
Fraser Noble Building | Fraser Noble F209 | ED F209 | 15 | Fraser Noble Second Floor TR F209 | Natural | 15 | 11 | 75
Robert Kilpatrick Clinical Sciences Building | RKCSB | Capacities at the RKCSB have been agreed with the NHS and are not ncluded here.